## Slide 1: CS671 Project
Dhruv Chamaria Tarun Dagar Maanasa Dharini

## Slide 2: AGENDA
Introduction
Data And Methods
Results
Conclusion

## Slide 3: Introduction
Problem
Manual hand X-ray photo analysis is a very difficult and time-consuming task for the radiologist as well.
Use Case
Joint detection helps in identifying numerous medical conditions such as
Solution
Usually, without computer vision, it is time-consuming to detect these problems our project proposes two methods for joint detection.

## Slide 4: Data
Q1
Q2
Q3
Q4
Data Preprocessing
Understanding Data
Deciding Method
Implementation

## Slide 5
2
4
3
1
Pre-process the image to enhance the contrast and improve the visibility of the joints.
There are several techniques you can use, such as thresholding, morphological operations, and contour detection.
All images should be at the same level we apply histogram equalization for the same to make dark pixels light and light pixels dark
Extract features from the segmented hand joints. We used Hough transform
Image
Pre-processing
Reducing Noise
Histogram Equalization
Hough Transform
Method 1 (Using image Processing)

## Slide 6
2
4
3
1
Data labeling in the format of yolo was a time-consuming task
Labelling Data
Training Data
Hough Transform
Method 1 (Using image Processing)
Testing Data
Extract features from the segmented hand joints. We used the Hough transform
For training data, we used yolov5 its architecture we trained for 200 epochs with early stopping.
We performed testing on 10 percent of the images which was used to calculate accuracy using comparing them with the text file provided to us by madam.

## Slide 7: Results
Method 1
Method 2
Image 1 shows the original image, and the second image shows the detected image.
After evaluation, we got an overall accuracy of 60-65 % which is a low accuracy but can be improved further using different image processing techniques.
We were not able to distinguish between the fingers and the thumb
Image 1 shows the original image, and the second image shows the detected image.
After evaluation, using yolo we got an accuracy of around 90-95 percent.

## Slide 8: Conclusion
Our method is a fully automated system to detect three different types of joints that in MCP, DIP, and SIP. The results are satisfying and reliable. This system fails to detect joints in which images are blacked out and have improper joint X–ray images. The major challenge is to accurately measure joint localization and apply proper image processing techniques to achieve higher accuracy.

## Slide 9: THANK YOU
“Machine intelligence is the last invention that humanity will ever need to make.”
~Nick Bostrom